SUPPLEMENTARTY AGENDA OF 37TH OPERATION & COORDINATION COMMITTEE MEETING OF MP

General Manager (OSPS) vide letter no. NHDC/3/t/13/08/ 6296 dtd 12/12/2013 requested SLDC to include the following agenda points :-

- SA-1: Frequent opening of Omkareshwar –Julwania Line by SLDC

The problem of high voltages of the above said line becomes severe during night / off peak hours. Accordingly, the above transmission line is disconnected frequently as per advice of SLDC

Therefore, NHDC requests SLDC to improve the voltage profile of the said line by increasing loading pattern so that frequent opening and closing of the line may be avoided. 					     	         [ Committee may like to discuss]

- SA-2  Providing AMR facility for the ABT meters installed at MPPGCL/IPPs/NHDC

Currently Elster make meters have been installed at all the outgoing lines of Omkareshwar Power Station. Matter has been taken up with M/s Elster for upgradation of existing energy meter for data connectivity of AMR of M/s Secure Meters installed at SLDC The Suiatbility for the same may be checked by SLDC and issue further advice.

[ Committee may like to discuss]