SUPPLEMENTARTY AGENDA OF 34TH OPERATION & COORDINATION COMMITTEE MEETING OF MP

- SA-1: Deviation Settlement Mechanism and related matters, Regulations, 2013 (Draft):

The Central Electricity Regulatory Commission has notified the draft CERC (Deviation Settlement Mechanism and related matters) Regulations, 2013 which is available on the Commission’s website. The Commission has invited the comments/suggestions/ objections on the draft regulations by 19th July 2013. Comments/suggestions/objections received after the stipulated date in the Commissions office may not be considered while finalizing the regulations. When notified, the Deviation Settlement Mechanism and related matter Regulations, shall repeal the CERC (UI Charges and related matters),, Regulations, 2009.

As the proposed regulations have direct impact on the generators and beneficiaries, the entities are requested to go through the regulations and offer their comments if any, directly to the CERC within the stipulated time.

- SA-2  Technical Minimum running of Thermal Generating Units:

It is a normal practice that the generations from running thermal generating units are backed down by revising injection schedule under low load conditions to its technical minimum ex-bus generation. The technical minimum is generally considered as 70% of ex-bus installed capacity. Some of the generators have objected to the same and cited many reasons for not running the unit at 70% of its rated ex-bus capacity.

The generators are requested to submit within 7 days the OEM’s design criteria for technical minimum from the OEM’s technical manual, so that the technical minimum of the generators can be defined. Till such time the 70% ex-bus rated capacity shall be considered for giving the technical minimum injection schedule under low load conditions to ensure the reliability and security of the integrated grid.